Carpenter Cover goes here

CARPENTER

Activity Plans

Carpenter

# Table of Contents

Acknowledgements . . . . . . . . . . . . . . . . . . . . . . .   .   .   .   .   .   .   .   .   .   .   .  3 Introduction to Carpentry Power Tools . . . . . . . . . . . . . . . . .   .   .   .   .   .   .   .  7 Overview and Working Conditions . . . . . . . . . . . . . . . . . . . .   .   .   .   .   .   .  25 Woodshop Safety and Intro to Hand Tools . . . . . . . .   .   .   .   .   .   .   .   .   .   .   .   .   .   .  31 Build a Floor   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   39

Lay Out a Full Height Wall   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   47

Build a Full Height Wall .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   53

Build a Wall Mockup   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   61

Build a Sawhorse .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   .   69

Youth Explore Trades Skills	Carpenter

# Acknowledgments and Third Party Copyright

## Youth Explore Trades Skills Learning Resources Development

Open School BC, the Custom Programs work unit of the BC Ministry of Education, and SkilledTradesBC are grateful to the following individuals and organizations for their contributions to the Youth Explore Trades Skills Learning Resources Development Project.

##### Resource Development Planning Session (July 11–12, 2013)

Dick Brouwer, SD 63 (Saanich) Jeff Dickson, SD 35 (Langley) Brad Edmondson, SD 36 (Surrey)

Adrian Hill, Project Manager, Open School BC

Mike Howard, President, BC Technology Education Association, SD 19 (Revelstoke) Martin Lim, Vice-President, BC Technology Education Association, SD 36 (Surrey) David Olsen, SD 69 (Qualicum)

Stu Rhodes, SD 63 (Saanich)

Chris Teskey, Project Manager, Open School BC

Cory Williams, Manager, Program Standards, SkilledTradesBC

##### Writing

David Olsen, SD 69 (Qualicum)

##### Review

Jerry Schouten, SD 36 (Surrey)

2013 Curriculum Advisory Committee

Brian Campbell, District Principal, Careers and International Education, SD 60 (Peace River North)

Larry Espe, Superintendent of Trades and Student Transitions, BC Ministry of Education Colleen Hannah, Aboriginal Agreements Coordinator, BC Ministry of Education

Rodger Hargreaves, Career Programs, SD 62 (Sooke)

Mike Howard, President, BC Technology Education Association, SD 19 (Revelstoke) Erin Johnston, Manager, Labour Supply Initiatives, SkilledTradesBC                        Eleanor Liddy, Director, Open School BC

Eric MacNeil, President, BC Culinary Arts Specialist Association

Jim Pelton, former Director, Training Delivery, SkilledTradesBC

This work is licensed under a Creative Commons Attribution-NonCommercial-ShareAlike 4.0 International License unless otherwise indicated.	3

Acknowledgments and Third Party Copyright	Carpenter

Glenn Rowan, Education Officer, Graduation, Dual Credit, Industry Training, BC Ministry of Education

Tim Winkelmans, Lead, Graduation Standards, Educational Technologies, Learning Alternatives, BC Ministry of Education

### 2013 Resource Development Planning Session (July 10, Victoria BC)

Dick Brouwer, SD 63 (Saanich) Jeff Dickson, SD 35 (Langley) Brad Edmondson, SD 36 (Surrey)

Adrian Hill, Project Manager, Open School BC

Mike Howard, President, BC Technology Education Association, SD 19 (Revelstoke) Tom Hoyme, SD 42 (Maple Ridge-Pitt Meadows)

Eleanor Liddy, Director, Open School BC

Erin Johnston, Manager, Labour Supply Initiatives, SkilledTradesBC                     Ken Jorgensen, SD 57 (Prince George)

Karen Larsen, Career Programs Coordinator, SD 39 (Vancouver)

Martin Lim, Vice-President, BC Technology Education Association, SD 36 (Surrey) David Olsen, SD 69 (Qualicum)

Stu Rhodes, SD 63 (Saanich)

Glenn Rowan, Education Officer, Graduation, Dual Credit, Industry Training, BC Ministry of Education

Rhonda Stangeland, SD 38 (Richmond)

Chris Teskey, Project Manager, Open School BC

Cory Williams, Manager, Program Standards, SkilledTradesBC

### Open School BC Production Team

Copyright: Shannon Sangster Editing: Keith Learmonth

Graphics: Max Licht (http://www.maxlicht.com) Graphics Coordination: Christine Ramkeesoon Photography: Dennis Evans

Project Managers: Adrian Hill, Tracey Peever, Chris Teskey

Project Supervision: Monique Brewer (Director), Jennifer Riddel (Manager, Instructional Services)

Production Technicians: Brian Glover, Beverly Hooks Website Construction and Design: Christine Ramkeesoon

Third Party Copyright

Every effort has been made to contact copyright holders for third party works included in the Youth Explore Trades Skills learning resources. If you have any questions or concerns, please contact openschoolinfo@gov.bc.ca

Build a Wall Mockup

Figure 3—Typical compound mitre saw used to cut plates and studs to length. Used by permission, courtesy of Makita.

Build a Full Height Wall

Figure 2—Typical layout of stud location onto top and bottom plates. Used by permission. Copyright © 2006 The Family Handyman magazine. All Rights Reserved.

Figure 4—Typical positioning and nailing of plates and studs. Used by permission. Copyright © 2006 The Family Handyman magazine. All Rights Reserved.

Youth Explore Trades Skills	5

Acknowledgments and Third Party Copyright

Carpenter

Introduction to Carpentry Power Tools

Description

Carpenters use power tools every day, and the ability to use these tools correctly and safely is paramount. In this Activity Plan, students will become familiar with the correct usage of the portable circular saw and the compound mitre saw.

### Lesson Outcomes

The student will be able to:

- Identify the parts of the portable circular saw and compound mitre saw

- List the key safety considerations for each tool

- Define the basic purpose and correct steps in using each tool

### Terminology

Bevel: a cut or angle where the edge of the material is not perpendicular to the face of the material. Common uses include edges of tabletops and legs of furniture.

Compound mitre saw: a portable saw that is used to make accurate crosscuts and angle cuts in materials. It consists of a large blade attached to a mechanism that can be adjusted to cut at different angles or at different bevels.

Crosscut: a cut across the grain of a length of wood at a 90° angle

Mitre: a cut across the grain of a length of wood at an angle other than 90°

Personal protective equipment (PPE): protective equipment and clothing designed to shield the worker from injury. Types of PPE include eye, ear, and body protection against workplace hazards such as projectiles, fumes, and excessive noise.

Portable circular saw: a hand-held electrically powered saw used for cutting common wood materials in a straight cut. The saw consists of a small circular blade housed in a guarded case with a baseplate that rests on the material being cut.

### Estimated Time

2–4 hours

The time for this activity will depend on the familiarity of students with tools and the scope of project (e.g., size of wall, access to tools—number of saws available, etc., and numbers of students).

### Recommended Number of Students

20, based on the BC Technology Educators’ Best Practice Guide; ideal is 16.

This work is licensed under a Creative Commons Attribution-NonCommercial-ShareAlike 4.0 International License unless otherwise indicated.	7

### Facilities

Technology education shop facility required. Secure space to work outside is advantageous.

### Tools

  - Aprons

  - Eye protection and hearing protection (PPE)

  - Compound mitre saw

  - Portable circular saw

  - Extension cord (if necessary)

  - Sawhorses for supporting material being cut

### Materials

2 × 4" or 2 × 6" scraps for practice cutting

### Resources

HEADS UP! For Safety—A Safety Handbook for Technology Education Teachers—

Ministry of Education

http://www.bced.gov.bc.ca/irp/resdocs/headsup.pdf

  - Portable Power Tools Safety Information Sheet, page 49

  - Portable Power Tools Safety Quiz, page 50

  - Portable Circular Saw Information Sheet, page 61

  - Portable Circular Saw Safety Quiz, page 62

Compound Mitre Saw Safety Sheet

Demonstration: Portable Circular Saw

- Outline the purpose of the activity and review the importance of general safety on the job site.

- Have students read through the Heads Up! For Safety – Portable Power Tools Safety Information Sheet. This can be preceded or followed by a short introduction to portable power tool safety.

- Students should complete the Heads Up! – Portable Power Tools Safety Quiz. Students can group mark the quiz or the teacher can collect and mark them.

- The teacher should begin the activty with a demonstration of the parts of the saw. It should consist of:

  - Type of blade used and method of removing and attaching the blade

  - Arbor nut holding the blade in position

  - Saw base

  - Guard

  - Blade depth adjustment

  - Blade angle adjustment

  - Electrical cord (or battery pack if cordless)

Trigger switch

Safety switch

Motor housing

Electrical cord

Lever for retracting

lower blade guard

Bevel cutting angle

adjustment knob

Retracting lower

blade guard

Handle

Front clamp screw

Main shoe

Shoe

Cutting depth

adjustment knob

Figure 1—Circular saw nomenclature

Left side of the

blade at 45°

Left side of the

blade at 90°

Figure 2—Guide marks

- Have the students read the Heads Up!—Portable Circular Saw Information Sheet.

- Then demonstrate the use of the saw. Have the students wear PPEs as they watch.

- Have the students individually complete the Heads Up!—Portable Circular Saw Safety Quiz. As this is a legal safety requirement, students must be thorough and complete all aspects of the quiz in the allotted time.

- Collect and mark the safety quiz (to be given back the following day).

# Demonstration: Compound Mitre Saw

- Begin the compound mitre saw activty with a demonstration of the parts of the saw. It should consist of:

  - Type of blade used and method of removing and attaching blade

  - Arbor nut holding the blade in position

  - Saw table

  - Saw fence

  - Guard

  - Mitre adjustment mechanism (varies from saw to saw)

  - Bevel adjustment mechanism (varies from saw to saw)

  - Electrical cord

- Have the students read the Compound Mitre Saw Safety Sheet (on the next page).

- When the students have completed their reading, demonstrate the use of the saw. Have the students wear PPEs as they watch. The teacher should demonstrate a variety of 90° cuts, mitre cuts and bevel cuts.

Emphasis should be on clamping material if possible, hands away from the blade path, letting the blade reach top speed before cutting, and moving out and down in with the actual cut. The saw should not be lifted from the bottom of the cut until the blade is fully stopped or the material may catch and kick away from the machine.

### Evaluation Guidelines

The student:

  - Successfully completes the Heads Up! Portable Power Tools Safety Quiz

  - Successfully completes the Heads Up! Portable Circular Saw Safety Quiz

# Compound Mitre Saw Safety Sheet

Figure 3—Compound mitre saw

- Be sure all guards are in place and working properly before each use.

- When changing a blade, always match the direction of the arrow on the blade with the direction of the arrow on the tool. The teeth at the bottom of the blade should point down and in toward the fence.

- Be sure the arbor nut is tight to prevent slipping.

- Place the saw on a flat and level surface.

- Always wear safety glasses or a face shield. Hearing protection is recommended.

- Remove loose-fitting clothing and jewellery, and tie back long hair.

- Always place the material securely on the table and against the fence when making cuts.

- Whenever possible, use clamps to secure the material to the table to avoid injuries.

- Never make freehand cuts without holding the material tightly against the fence.

- Never cut small pieces that would require you to put your fingers within 3" of the cutting blade without a clamping device.

- Never reach across the saw blade or perform “cross-handed” operation.

- When starting the saw, allow the blade to reach full speed before cutting; do not force the blade. Let the motor do the work.

- When using a sliding compound mitre saw, remember to pull the blade out, start the saw, and then push down into the stock and toward the fence.

- Never raise the blade from the material until the blade has come to a complete stop.

- Never try to remove or clamp any material to the saw while the blade is rotating.

# Appendix: Mitre Saw Information

### Types

Carpenters use portable mitre saws to cut mouldings and finish wood as well as to fit and cut framing lumber to length.

There are three basic types of mitre saws:

  - Mitre

  - Compound mitre

  - Sliding compound mitre

A sliding compound mitre saw has a sliding device that allows the motor and blade to slide along a track. This allows the saw to cut much wider boards.

On most job sites, a power mitre saw is simply called a chopsaw. There are a great number of sizes and styles—from standard single-pivot chopsaws through dual compound mitre saws.

Figure 4 shows a single-pivot type.

Figure 4—Standard chopsaw

### Sizes

The size of a mitre saw is determined by the maximum diameter of the blade that it can use. Most mitre saws are 8, 10, or 12" saws. Twelve-inch diameter blades are not as common.

The power of the saw is determined by the size of the motor. As portable tools, they must use a 120-volt power source. This limits the power of the saw. The 12" saws are usually under- powered and tend to slow when cutting wide or thick boards.

### Compound Mitre Saw

This saw mitres like a standard chopsaw, but the blade and motor assembly also can flop over to one side, allowing the user to cut a bevel with the face of the board lying flat on the table.

The sliding compound mitre saw can cut mitres, bevels, and compound mitres like a compound mitre saw. But instead of a fixed pivot point, the blade and motor can slide forward and back on a rail. A sliding saw can cut wider stock than a fixed pivot head saw.

Figure 5—Compound mitre saw	Figure 6—Single sliding compound mitre saw

### Double-Bevel Compound Mitre Saw

This saw functions exactly like a compound mitre saw, except that the blade and motor assembly can flop either to the left or to the right, allowing for the cutting of bevels and compound mitres in either direction.

Double-bevel sliding compound mitre saws function the same as double-bevel compound mitre saws, but they also can slide back and forward on a rail.

Figure 7—Double-bevel compound mitre saw	Figure 8—Double-bevel sliding compound mitre saw

### Operating Controls

To turn the saw on, depress the trigger switch (A). Release the switch to turn if off.

Warning: The turning blade is dangerous. After completing the cut, release the switch trigger to activate the brake. Keep the saw head down until the blade has come to a complete stop.

The torque developed during braking may loosen  the arbor screw. The arbor screw should be checked periodically and tightened if necessary.

Figure 9—ON–OFF trigger switch

### Rotating Table

The mitre saw shown in Figure 10 will cut any mitre angle from a straight 90° cut-off to 47° right or left. Simply loosen the lock handle (A), depress the index lever (B), and move the control arm to the desired angle. Then tighten the lock handle (A).

The 10" compound mitre saw is equipped with positive mitre stops for the table control arm at the 0, 15, 22½, 30, and 45° right and left positions.

Loosen the lock handle (A) and move the control arm until the spring-loaded index lever (B) engages into one of the positive stops (four of which are shown at (C) ). Then tighten the lock handle (A). To disengage the positive stop, depress the index lever (B).

Important: Always tighten the lock handle (A) before cutting.

In addition, two triangle indicators (D) are provided on the scale at the 31�⁄�° right and left mitre angle, for cutting crown moulding.

Figure 10—Rotating table

### Tilting Arm

The cutting arm of the compound mitre saw can be tilted to cut at any bevel angle from a 90° straight cut-off to a 45° left bevel angle by loosening the bevel lock handle (A) (Figure 11), tilting the cutting arm to the desired angle, and tightening the lock handle (A).

Note: The lock handle (A) is spring-loaded and can be positioned by pulling out on the handle and repositioning it on the nut located underneath the hub of the handle.

Positive stops are provided to rapidly position the saw blade at 90° and 45° to the table. The bevel angle of the cutting arm is determined by the position of the pointer (B) on the scale (C).

In addition, a triangle indicator (D) is provided on the scale at the 33�⁄�° bevel angle for cutting crown moulding.

Figure 11—Bevel cutting

### Locking Arm

When transporting the saw, the cutting arm should always be locked in the down position. This can be accomplished by lowering the cutting arm (A) (Figure 12) and moving the locking lever (B) to the locked position. Never carry the mitre saw by the switch handle, cutting arm or table control; this may cause misalignment. Always lift the saw by its base.

Figure 12—Locking cutting arm

### Fastening Holes

Fastening holes are provided in the base of the saw casting for mounting. Always secure the saw with screws to prevent movement. A walking saw is always dangerous.

Figure 13—Fastening holes

Mitre Saw Adjustment

DISCONNECT THE SAW FROM THE POWER SOURCE BEFORE MAKING ANY ADJUSTMENTS.

Two-Position Fence

The fence (A) on your mitre saw can be used in the forward position, as shown in Figure 14, or in the rear position, as shown in Figure 15. The forward position is used for cutting workpieces up to a standard 4×4" and is the most common fence position.

The rear fence position is used when cutting off or bevelling standard 2×6" workpieces.

To change the fence position, loosen the two fence locking screws, one of which is shown at (B). Position the fence (A) in either the forward or rear position and tighten the two fence locking screws (B).

Figure 14—Fence in forward position	Figure 15—Fence in rear position

To quickly check to see if the saw is cutting square, cut a 2×6", flip the cut piece over, and butt

it against the edge from which you cut. If the workpiece does not butt squarely, an adjustment is required (Figures 16 and 17).

Figure 16—Checking bevel error	Figure 17—Bevel error

Adjusting a 90° Bevel Stop

Loosen the bevel lock handle, tilt the cutting arm all the way to the right, and tighten the bevel lock handle. Place one end of a square (A) (Figure 18) on the table and the other against the blade. Check to see if the blade is at 90° to the table. If an adjustment is necessary, loosen locknut (B) (Figure 19) and turn screw (C) until the other end of screw (C) contacts the casting

(D) when the blade is 90° to the table. Then tighten locknut (B).

Figure 18—Bevel adjustment 1	Figure 19—Bevel adjustment 2

### Adjusting a 45° Bevel Stop

Loosen the bevel lock handle, tilt the cutting arm all the way to the left bevel position, and tighten the bevel lock handle.

Use a combination square (A) to check if the blade is at 45° to the table (Figures 20 and 21). If an adjustment is necessary, loosen locknut (E) and turn screw (F) until other end of screw (F) contacts casting (G) when the blade is at 45° to the table. Tighten locknut (E).

These positive stops enable you to rapidly position the blade at 90° and 45° to the table.

Figure 20—Bevel adjustment 3	Figure 21—Bevel adjustment 4

### Adjusting Blade Parallel to Tabletop Insert Opening

Before adjusting the blade parallel to the blade insert opening in the mitre saw tabletop,

DISCONNECT THE SAW FROM THE POWER SOURCE.

Note: This adjustment should be checked with the cutting arm moved all the way to the right (blade 90° to the table).

Lower the cutting arm. The saw blade (A) should be parallel to the left edge (B) of the table insert opening (Figure 22). If an

adjustment is necessary, loosen two screws

(C) and move the cutting arm until the blade is parallel with the left edge (B) of the table insert opening. Then tighten two screws (C).

Figure 22—Blade parallel to blade

insert opening in tabletop

### Adjusting Fence 90° to Blade

Before adjusting fence 90° to blade, DISCONNECT THE SAW FROM THE POWER SOURCE.

Note: This adjustment must be made twice, once with the fence in the forward position and again with the fence in the rear position.

Loosen the two fence locking screws, one of which is shown at (A), and move the fence (B) all the way to the forward position (Figures 23 and 24). Then tighten the two fence locking screws (A).

Lower the saw blade and lock the cutting arm in the down position. Place one edge of a square

(C) against the blade and the other end against the fence, as shown. Check to see if the fence is 90° to the blade.

If an adjustment is necessary, loosen the two fence locking screws (A) and turn the two adjusting screws, one of which is shown at (D), until you are sure the fence is at 90° to the blade when the fence is all the way forward. Then tighten the two fence locking screws (A).

Figure 23—Fence adjustment 1	Figure 24—Fence adjustment 2

For the second adjustment, loosen the two fence locking screws, one of which is shown at (A), and move the fence (B) all the way to the rear position, as shown (Figures 25 and 26). Then tighten the two fence locking screws (A).

Using a square, place one end of the square against the blade and the other end against the table and check to see if the fence is 90° to the blade. If an adjustment is necessary, loosen the two fence locking screws (A) and turn the two adjusting screws, one of which is shown at (E), until you are sure the fence is at 90° to the blade when the fence is all the way to the rear. Then tighten the two fence locking screws (A).

These adjustments enable you to rapidly position the fence in either the forward or rear position making sure that the fence will be 90° to the blade.

Figure 25—Fence adjustment 3	Figure 26—Fence adjustment 4

### Adusting the Sliding Fit of the Cutting Arm for Vertical Travel

Before adjusting the sliding fit of the cutting arm for vertical travel, DISCONNECT THE SAW FROM THE POWER SOURCE.

To adjust the sliding fit between the arm

- and bracket (B), tighten or loosen  the adjusting nut (C) (Figure 27). Correct

adjustment is achieved when a good snug sliding fit is obtained without any side movement between the arm (A) and bracket (B). This adjustment should not be so tight that it restricts the sliding movement or so loose that it affects the accuracy of the saw cut.

Figure 27—Cutting arm

### Adjusting Saw Blade Downward Travel

Before adjusting the downward travel of the saw blade, DISCONNECT THE SAW FROM THE POWER SOURCE.

The downward travel of the saw blade can be limited to prevent the saw blade from contacting any metal surfaces of the machine. This adjustment is made by loosening locknut (A) and turning adjusting screw (B) in or out (Figure 28). When making this adjustment, make sure the machine is disconnected from the power source and lower the blade as far as possible. Rotate the blade by hand to make certain the teeth do not contact any metal surfaces.

Figure 28—Downward travel

## Maintenance

Maintainence of a mitre saw is similar to that of most portable power tools. The blade should be replaced when it becomes dull, and all electrical cords and connections must be kept in good condition.

Mitre saws are moved to and from the job site daily. This continual moving loosens screws and bolts. Regularly tighten all bolts and screws. Replace any parts that may have come loose or been lost.

Before using any mitre saw, check that the guard is moving freely and protects the blade fully. Never use a saw with the guard held back or if it is not operating correctly.

Clean the saw weekly. Remove all sawdust and pitch. Lubricate all moving parts with light oil and then wipe clean.

### Brush Inspection and Replacement

CAUTION: BEFORE INSPECTING BRUSHES, DISCONNECT THE MACHINE FROM THE POWER SOURCE.

Brush life varies, depending on the load on the motor. Check the brushes after the first 50 hours of use for a new machine or after a new set of brushes has been installed.

The brush holders (A) are located opposite each other on the motor housing (Figures 29

and 30). When the carbon on either brush is worn to �⁄��" in length or if either spring or shunt wire is burned or damaged in any way, replace both brushes. If the brushes are found serviceable after removing, reinstall them in the same position as before they were removed.

Figure 29—Brush location	Figure 30—Brush inspection

### Changing the Blade

Use only crosscutting saw blades. When using carbide-tipped blades, make sure they have a negative hook angle.

Do not use blades with deep gullets as they can deflect and contact the guard.

DISCONNECT THE MITRE SAW FROM THE POWER SOURCE BEFORE INSTALLING THE BLADE.

Blade Removal

Rotate the lower blade guard (clear plastic) up and out of the way. Loosen screw (B) to free plate (C). This will expose the arbor nut.

To lock the blade from rotating you can use a scrap of wood or push on the arbor lock near the saw handle (Figure 31).

Figure 31—Guard removal

Figure 32—Rotation lock	Figure 33—Blade removal

### Blade Installation

Reinstall a new blade by confirming rotation, holding the blade from turning, and replacing the washer and nut.

Swing guard plate (C) into position and lock by tightening the screw.

Figure 34—Blade installation	Figure 35—Guard replacement

Overview and Working Conditions of the Carpentry and Joinery Trades

Description

There are two fields of woodworking trades within the construction industry in British Columbia:

Carpenters and cabinetmakers (also known as joiners). Both share some common training and both involve working primarily with wood. Both of these trades offer apprenticeships, during which on-the-job training as well as classroom experience take place. Typically, an

apprenticeship is a four-year process, with 85% of the training spent on the job and 15% spent in school (technical training). The activity plans written for Youth Explore Trades concentrate on the basic skills of both woodworking trades, although much of the material is specifically suited for carpentry training.

### Lesson Outcomes

The student will be able to:

  - Understand the main duties of carpenters

  - Know the difference between a carpenter and a cabinetmaker

  - Be aware of the working conditions of a carpenter

### Assumptions

  - Students will have little or no knowledge about the carpentry trade.

  - Students will have an interest in gaining knowledge about the carpentry trade.

### Terminology

Cabinetmaker (joiner): a person who builds, repairs, and restyles wooden furniture, cabinets, fixtures, and other products. There are many similarities with the carpentry trade, and

both involve primarily working with wood. Joiners are designated as cabinetmakers under the Interprovincial Red Seal Program. Using architectural drawings, joiners often operate

woodworking machines to cut and form parts, which they then assemble into finished products. Some specialize in custom-made furniture, and increasingly joiners are tasked with installing pre- manufactured cabinets and fixtures.

Carpenter: a person who builds and repairs a vast array of structures made of wood, wood substitutes, and other materials. Carpenters assemble and erect forms for concrete, wood and metal frame construction and use plans and instruments to prepare for excavating and shoring. On smaller projects, they direct concrete placement and install exterior and interior finish materials such as siding, doors, windows, and cabinets.

This work is licensed under a Creative Commons Attribution-NonCommercial-ShareAlike 4.0 International License unless otherwise indicated.   25

SkilledTradesBC: the organization responsible for leading and coordinating the skilled trades training and credentialing system for the province of BC. SkilledTradesBC provides strategic leadership, policy support, and customer services to help apprentices, employers, and industry. SkilledTradesBC sets program standards, maintains credential records, and issues the highly regarded Interprovincial Red Seal (IP) and BC Certificate of Qualification (CofQ) credentials.

Interprovincial Red Seal and BC Certificate of Qualification: Through the Red Seal program, certified tradespeople can obtain a “Red Seal” endorsement on a BC Certificate of Qualification. The Red Seal allows qualified tradespeople to practise their trade in any province or territory in Canada where the trade is designated, without having to write further examinations.

See www.red-seal.ca for additional information on the Red Seal Program. CofQ is only recognized in the province where it is obtained.

National Occupational Classification (NOC): standardized language for describing the work performed by Canadians in the labour market. It gives statisticians, labour market analysts, career counsellors, employers, and individual job seekers a consistent way to collect data and describe and understand the nature of work.

Technical training: in-school training—in the case of this activity plan, for the carpentry trade.

Working conditions: the conditions in which an individual works, including environment, noise levels, degree of safety, physical environment, wages, and hours of work.

### Estimated Time

  - –3 hours

### Recommended Number of Students

20, based on the BC Technology Educators’ Best Practice Guide

### Facilities

Classroom or computer lab

### Tools

Projector with computer and speakers, Internet access

### Materials

None

### Recommended

The introduction of this  s is a great opportunity to invite a carpenter in as a guest speaker to talk about the carpentry trade. The person could speak to the students about duties performed by

a carpenter and working conditions, and could provide stories about the trade as well as share their experiences as an apprentice. Alternatively, a cabinetmaker could also present an overview of the cabinetmaking (joiner) trade.

### Resources

Skills Canada 2008—Carpentry

Keewatin Career Development Corporation (KCDC) video. This video demonstrates this trade in action, performed during the Skills Canada Competition 2008 in Calgary.

http://www.youtube.com/watch?v=EnITU2kOCfE

Skills Canada 2008—Cabinetmaking

Keewatin Career Development Corporation (KCDC) video. This video demonstrates this trade in action, performed during the Skills Canada Competition 2008 in Calgary.

http://www.youtube.com/watch?v=4fBQ6M_4DCc

SkilledTradesBC Carpenter information

https://skilledtradesbc.ca/carpenter

SkilledTradesBC Cabinetmaker information

https://skilledtradesbc.ca/cabinetmaker-joiner

Employment and Social Development Canada—National Occupational Classification

http://noc.esdc.gc.ca/English/home.aspx

# Activity

##### Option 1: Guest Speaker Carpenter or Cabinetmaker

The following activity would be optimal prior to a carpenter or cabinetmaker coming in to speak to students:

    - The teacher shows video clips listed under the Resources section, including the video of a carpenter’s duties, so students know the difference between the two different types of woodworking trades.

    - The teacher leads a discussion and provides an overview to the carpentry trade, explaining the NOC and main duties of carpenters.

##### Option 2: No Guest Speaker (Class Discussion)

    - Show one or both video clips as a starting point to the activity.

    - Give an overview of the carpentry trade explaining the NOC and main duties of carpenters. Lead a class discussion.

    - Show the video of a cabinetmaker’s duties (see Resources section) so students know the difference between the two different types of carpenters.

Note: This video is from Alberta, where some of the requirements are different from those in British Columbia, such as educational requirements.

##### Option 3: No Guest Speaker (Class Activity)

    - Show one or both video clips as a starting point to the activity.

    - Give an overview of the carpentry trade, explaining the NOC and main duties of carpenters.

    - Show the video of a cabinetmaker’s duties so students know the difference between the two different types of carpentry trades (see Resources section).

Note: This video is from Alberta, where some of the requirements are different from those in British Columbia, such as educational requirements.

    - Hand out slips of paper with duties and descriptions of carpenters and cabinetmakers. Students must decide whether the papers fit carpenters, cabinetmakers, or both. Have them lay the papers down on a table with carpentry on the left, both in the middle, and cabinetmaking on the right (a Venn diagram format with two overlapping circles). The list of duties and descriptions is included at the end of this activity.

Background information

##### NOC #7271 Carpenters

Carpenters construct, erect, install, maintain, and repair structures and components of structures made of wood, wood substitutes, lightweight steel, and other materials. They are employed by construction companies, carpentry contractors, and maintenance departments of factories, plants, and other establishments, or they may be self-employed.

##### Main duties

Carpenters perform some or all of the following duties:

  - Read and interpret blueprints, drawings ,and sketches to determine specifications and calculate requirements

  - Prepare layouts in conformance to building codes, using measuring tools

  - Measure, cut, shape, assemble, and join materials made of wood, wood substitutes, lightweight steel, and other materials

  - Build foundations, install floor beams, lay subflooring, and erect walls and roof systems

  - Fit and install trim items, such as doors, stairs, moulding, and hardware

  - Maintain, repair, and renovate residences and wooden structures in mills, mines, hospitals, industrial plants, and other establishments

  - Supervise apprentices and other construction workers

  - May prepare cost estimates for clients

##### NOC #7272 Cabinetmakers

Cabinetmakers use a variety of woods and laminates to construct and repair wooden cabinets, furniture, fixtures, and related products. They are employed by furniture manufacturing or repair companies, construction companies, and cabinetmaking contractors, or they may be self- employed.

##### Main duties

Cabinetmakers perform some or all of the following duties:

  - Study plans, specifications, or drawings of articles to be made, or prepare specifications

  - Mark outlines or dimensions of parts on wood

  - Operate woodworking machines, such as power saws, jointers, mortisers, and shapers, and use hand tools to cut, shape, and form parts and components

    - Trim joints and fit parts and subassemblies together to form complete units using glue and clamps and reinforce joints using nails, screws, or other fasteners

    - Sand wooden surfaces and apply veneer, stain, or polish to finished products

    - Repair or restyle wooden furniture, fixtures, and related products

    - May estimate the amount, type, and cost of materials required

### Evaluation Guidelines

The student:

    - participates in class discussion.

    - Understands the difference between carpenters and cabinetmakers.

    - Displays an understanding of the main duties of a carpenter and a cabinetmaker. The teacher will assess this on the basis of student activity, participation, and discussion.

Woodshop Safety and Introduction to Hand Tools

Description

A woodworking environment presents a variety of potential safety hazards and requires an ongoing awareness of the dangers involved in using both hand and power tools. Additionally, there are a number of hand tools specific to carpentry, and students need to be introduced to both their application and the specific safety steps that should be followed to maintain a safe working environment.

The purpose of this Activity Plan is to provide students with an introduction to the general safety requirements necessary within a woodworking environment. This will be followed by a presentation of basic hand tools used in carpentry and how to use those tools in a safe manner.

### Lesson Outcomes

The student will be able to:

  - Identify appropriate clothing requirements in a woodworking environment

  - List safety equipment requirements for eye, hearing, and dust protection

  - Explain the dangers of drug and alcohol usage in relation to job safety

  - Be aware of job requirements for safety equipment, including eyewash stations, fire extinguishers, and first aid supplies

  - List the common hand tools used in carpentry

  - Demonstrate the specific usage of those common hand tools

### Terminology

Carpenter’s level (spirit level): a rectangular tool used to check the level of a surface. It consists of two flat parallel surfaces with a small window containing a cylinder filled with liquid and a bubble of air.

Figure 1—Four-vial hand level

Carpenter’s pencil: a large, rectangular pencil with a strong graphite lead typically sharpened with a knife or chisel.

Figure 2—Carpenter’s pencil

This work is licensed under a Creative Commons Attribution-NonCommercial-ShareAlike 4.0 International License unless otherwise indicated.   31

Chalk line: a tool for marking long, straight lines. It consists of a casing holding a rolled string and ground chalk that coats the string.

Figure 3—Chalk line

Chemical cartridge respirator: a respirator mask that consists of a dust pre-filter and a chemical cartridge specifically designed to capture hazardous fumes and other contaminants, and prevent them from causing respiratory damage.

Chisel: a hand tool with a plain handle and a long blade and beveled cutting edge, designed to be struck by a hammer or mallet. Used to cut or shape hard materials such as wood, stone or metal.

Claw hammer: a tool generally used to hammer nails or remove nails from material. It consists of a handle attached to a solid steel head with a pounding end and a claw end to hook and remove fasteners with.

Curved claw

Straight claw

Figure 4—Different claw hammers

Combination square (square head): a ruled blade with both 45° and 90° heads, used to lay  out right angles and 45° angles. Figure 5 shows how the square head of a combination square is used to hold the blade at right angles to the edge of stock or flat bar.

45º mitre face

Square head

Spirit level

Scriber

Figure 5—Square head combination square

Dry chemical fire extinguisher: a portable cylinder filled with foam or a dry chemical material. Some types include:

  - Class A (ordinary combustible materials—paper, wood, or plastics)

  - Class B (flammable liquids—gasoline, grease, or oil)

  - Class C (electrical equipment—appliances, wiring)

  - Class D (combustible metals—sodium, magnesium)

Some dry chemical fire extinguishers can be used for a variety of fire sources (ABC).

Earmuffs: hearing protectors that consist of soft ear cushions with sound-attenuating materials fitted within rigid outer cups and attached to a headband

Earplugs: a type of hearing protection device in which preformed silicon (customized) or mouldable foam plugs (disposable) are inserted into the ear canal to reduce sound.

Emergency eyewash station: a safety device that contains saline (salt dissolved in sterile water) or warm water that can be used to flush particles or chemicals from the eye in an emergency.

First aid kit: a portable container that holds essential first aid supplies, including adhesive bandages, antiseptic solutions, scissors, and other supplies.

Measuring tape: a flexible ruler with linear measurement markings attached to a spring mechanism housed in a case. These may be in imperial or metric units or both.

Figure 6—Measuring tape

Nail puller: a pry bar consisting of a handle and a hooked claw end used to pull fasteners.

Figure 7—Nail puller

Particulate respirator dust mask: a disposable paper-filter mask designed to fit over the nose and mouth to prevent sawdust and other materials from causing respiratory damage. This type is not generally effective against hazardous fumes.

Personal protective equipment (PPE): protective equipment and clothing designed to shield the worker from injury. Types of PPE include eye, ear, and body protection to prevent injuries from workplace hazards such as projectiles, fumes, and excessive noise.

Safety glasses: plastic lens eyewear with a wraparound or side protection shape designed to stop foreign objects from damaging the eyes.

Semi-insert earplugs: a set of earplugs attached to a headband and placed over the outside of the ear canal to reduce sound.

Figure 8—Semi-insert earplugs

Speed square: a triangular-shaped layout tool used for a variety of functions, including marking 90°, 45°, and specific angles, line-scribing, and as a saw guide for a portable circular saw.

Figure 9—Speed square

Tool pouch: a leather or fabric belt holding a variety of pockets used to carry tools and fastening devices.

### Estimated Time

  - –2 hours

### Recommended Number of Students

20, based on the BC Technology Educators’ Best Practice Guide; ideal is 16.

### Facilities

Technology education shop facility required.

### Tools

    - Safety glasses

    - Sample hearing protectors

    - Sample dust masks and respirators

    - Fire extinguisher

    - Eyewash station

    - First aid kit

    - Tool pouch

    - Tape measures

    - Combination square

      - Speed square

      - Carpenter’s level

      - Hammers and nail pullers

      - Chalk line

      - Carpenter’s pencil

### Materials

2 × 4" samples used to show layout and measuring techniques

### Resources

Deaf to the Danger—WorkSafeBC video on inappropriate use of earbuds

https://www.youtube.com/watch?v=EBzBX1OppkQ

Look at Me—WorkSafeBC video on importance of eye protection

https://www.youtube.com/watch?v=k7lTA6QQWGw

# Activity

- This activity should begin with a general discussion of safety in the workplace and introduce the overriding acknowledgement that safety is a consideration in every aspect of the carpentry trade. Students may not have any background knowledge of construction

safety or within related trades. It needs to be emphasized that regular workplace behaviour requires a much greater degree of awareness of the dangers present both from tools and machinery and from environmental hazards such as noise and dust.

- Workplace clothing plays an important role in safety. A brief discussion of what is considered appropriate is necessary and includes the following points to consider:

  - Proper footwear—no open-toed shoes, requirements for safety footwear on many job sites

  - Appropriate clothing—no shorts, muscle shirts, dangling sleeves, or cords such as those found on hoodies, etc.

  - Removal of jewellery and other hazards—watches, rings, etc.

- A discussion of workplace distractions can be introduced by having students view the  short WorksafeBC video “Deaf to the Danger.” Have students brainstorm on other potential distractions that could impact safety. Appropriate use of cellphones should be mentioned.

- As many workplace injuries result from inappropriate use of drugs and alcohol, an overview of the relevance of taking responsibility for one’s own safety and other workers should be discussed.

- Personal protective equipment (PPE) should be demonstrated to the class. The discussion should make clear to each student when they should be used and the consequences of non-use. This discussion should include the following:

  - Safety glasses

  - Hearing protection

  - Dust masks and respirators

- The short WorkSafeBC video “Look at Me” can be used to supplement this discussion. It will provide students with a reminder that it only takes one instance of non-use of PPE to result in a serious injury.

- Job site safety equipment is a legislated requirement, and students should be made aware of fire extinguishers, eyewash stations, and first aid kits. At this point, it would not be necessary to demonstrate each component in depth, but students should understand that all accidents should be reported immediately to the teacher and that equipment should be available at any worksite.

- The final part of this activity is to provide an overview of the common hand tools used in carpentry. A brief demonstration/discussion should present the basic use and handling of each of the following:

  - Tape measure (metric and imperial units)

  - Combination square

  - Speed square

  - Carpenter’s level

  - Claw hammer

  - Nail puller

  - Chalk line

  - Carpenter’s pencil

  - Chisel

### Evaluation Guidelines

The student can:

- Identify the three main elements of PPE

- Demonstrate the basic use of the hand tools given

- Identify the names of each of the hand tools given

### Optional Extension Activity

- If time is available, students could practise with the hand tools provided in the earlier demonstration.

- As both imperial and metric units are used in carpentry, the advantages/disadvantages of each system could be discussed briefly.

Build a Floor

Description

Floors are an integral part of residential construction and must be built to specifications that meet building code requirements. In this Activity Plan, students will be cutting and assembling components of a wood frame floor (including floor joists, rim joists, and sheathing) according to drawings or specifications.

### Lesson Outcomes

The student will be able to:

- Identify floor framing components

- Extract information from the drawings with respect to size and location of components and/ or openings

- Demonstrate safe use of hand and power tools

- Use appropriate layout tools

- Construct a basic floor with joists, rim joists, and sheathing

- Recognize how to check and mark crown on joists

- Gain the skills necessary to apply tongue and groove (T&G) plywood

### Assumptions

The student is:

- Familiar with safe use of a portable circular saw

- Familiar with basic tools for measurement (tape measure) and layout (framing square)

- Familiar with extracting information from drawings

- Aware that floor systems must bear on beams, walls, or other significant structural members

This work is licensed under a Creative Commons Attribution-NonCommercial-ShareAlike 4.0 International License unless otherwise indicated.   39

### Terminology

Bow: warping along the length of the face of a piece of lumber. Bow is typically not a concern for floor joists but the term can be discussed to provide students with an understanding of another issue often seen in lumber.

Figure 1—Bow in lumber

Box joists: joists specifically cut to form an opening in a floor (typically around a stair opening or other components).

Ledger

Box joist

Headers

Cut joists

Box joist

Offset between joist cut line

and ceiling cutout

Figure 2—Common header and box joists

Crown: warping by arching (on edge) of a piece of lumber due to drying conditions. The crown on a floor joist should always be placed arching up toward the top of the structure.

Figure 3—Crown in lumber

Double joist: two joists screwed or bolted together to create a stronger joist.

Floor fasteners: nails or screws used to fasten the subfloor plywood to the floor joists. Typical fasteners include ring nails (small directional rings on the shank to prevent the nail from working back out once driven in); galvanized nails (zinc treated to provide a rough finish resulting in very high corrosion resistance and to prevent the nail from working back out); and subfloor screws (treated with zinc to prevent corrosion and breakage).

Floor joist: one in a series of parallel framing members that support a floor load. Joists are supported by beams or bearing walls.

Figure 4—Isometric view of a typical floor showing floor joists and rim joists

Floor opening: a hole or opening in a floor, roof, or platform that measures 12" or more in its least dimension, wide enough to permit a person to fall through.

Floor sheathing (sheeting): plywood, oriented strand board (OSB), or lumber used to close up floors before the installation of finish materials on the surface. This is also known as subflooring. Tongue and groove plywood (T&G) is recommended. T&G plywood is specifically designed so that each piece has a slot (the groove) cut all along one edge, and a thin, deep ridge (the tongue) on the opposite edge (Figure 5). The tongue projects a little less than the depth of the groove.

Two or more pieces thus fit together closely with less movement or flexing.

Figure 5—Tongue and groove plywood

Header joist: a joist positioned horizontally between two longer joists in order to frame around an opening.

Joist hanger: a metal bracket used to attach and support the ends of a wood joist to beams or other structural components.

Rim joist: the final joist that attaches to the end of the row of joists that support a floor or ceiling. A rim joist forms the outside edge of the box that makes up the floor.

### Estimated Time

2–6 hours

The time for this activity will depend on the familiarity of students with tools and the scope of the project (e.g., size and shape of floor, whether it includes openings, availability of tools, spacious work environment).

### Recommended Number of Students

20, based on the BC Technology Educators’ Best Practice Guide. The ideal is 16, working in teams of 2–4 students, depending on the size and scope of the floor(s) being constructed.

### Facilities

Technology education shop facility is ideal, as well as a large secure outdoor space to work.

### Tools

- Portable circular saws

- Extension cords

- Tape measures

- Combination or speed squares

- Hammers or pneumatic nailers

- Sledge hammers (required to apply T&G flooring)

- Framing squares

- Levels

- Nail bars

- Aprons

- Hard hats, eye protection, and hearing protection

### Materials

- 2 ×?" material for joists (2 × 4" maybe adequate, but 2 × 6", 8", 10", or 12" may be more appropriate depending on the size of the project and joist span)

- Floor sheathing (plywood or OSB)

- 3" common bright nails, for nailing floor joists

- 2" common ring nails or 2" galvanized nails for nailing floor sheathing. If the sheathing material is to be reused at a later date, it is recommended to use 2" subfloor screws for ease of removal.

### Resources

Graphic/photo of floor system with cross section as well as isometric drawing.

Sample drawings of the floor should be provided (possibly as a standalone, and as a portion of a shed-style project if the floor is part of a larger project).

# Activity

- Review terminology and safe practices.

12’–0"

1'– 4"

Rim joist

Determine the size and shape of the floor, and determine the position of any floor openings (for this project it is recommended that a simple floor without openings be built).

|  | 13¾" |  | 14 ½" |  |  |  |  |  |  |  |  |  |  |  |  |  | 13¾" |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

8'– 0"

Attach (10) 8' × 2" × 6" joists to (2) 12' × 2" × 6" rim joists resting on the (3) 4" × 6" beams. Install blocking between joists.

7 at 14 ½" and the two outside at 13 ¾"

Figure 6—Sample drawing illustrating basic measurements and spacing between joists for a floor

- Generate a material list, including the number of joists and sheathing requirements.

- Establish a positioning strategy for the floor to be built (cinder blocks under corners, etc.). This would depend on the shop floor, mezzanine, or other building area available.

- Select lumber to be used for joists and physically examine each piece to determine any crown present. The crown edge should be marked with a large V to identify it, and all crowns should face up when fastening.

- Cut the rim joists to length using a portable circular saw or mitre saw.

- Transfer the joist layout to the rim joists. Ensure correct spacing of 16" from the outside of edge of the first joist to the centre of the second joist and 16" spacing OC for each

continuing joist. The spacing should be marked out using a speed square or framing square with a line and an X to indicate the side to which the joist will be fastened.

- Cuts the joists to length with a portable circular saw or mitre saw and nail with 3" common nails between the rim joists, making provisions for any floor openings.

- Ensure the floor joists are square by measuring the floor diagonally and adjusting as necessary.

- Apply floor sheathing. (It is recommended that sheathing be applied using screws in order to remove and reuse the material later.) Sheathing sheet ends must overlap to the centre of the joists and be staggered if more than one row is applied (Figure 7).

The T&G sheathing is applied by laying down the plywood with the tongue edge inserted into the groove of the previously applied sheet. A long 2 × 4" is laid flat on the joists against the groove side and tapped with a sledge hammer to drive the tongue tightly into the groove of the adjacent sheet. (The 2 × 4" allows for even pressure and prevents damage to the

edge of the plywood.)

" minimum gap at panel ends and edges or follow manufacturer recommendations.

T&G edges should be butted lightly together.

Strength/ major axis

Joists or trusses

Stagger panel end joints

Blocking if square edge panel

T&G panels applied across supports with mark “THIS SIDE DOWN” placed down. All panels are to be continuous over two or more spans.

Figure 7—Typical sheathing placement with staggered end joints

- It must be determined in advance if the floor is going to simply rest upon an existing level floor, or if it is going to bear upon pier blocks, beams, or established foundation walls so that students can make the appropriate accommodations.

### Evaluation Guidelines

The student:

  - Uses appropriate safety equipment and procedures

  - Selects appropriate tool(s) for the task

  - Sequences operations correctly

  - Produces accurately cut and correctly laid out framing components

  - Correctly assembles and fastens together framing members

  - Produces systems that are square, plumb, and/or level as required

  - Cuts and applies sheathing correctly with the appropriate fastening system

  - Exhibits overall professional quality (flush joints, no bent nails, appropriate material quality selection—e.g., crowns and bows)

  - Maintains a tidy work environment. This includes removing scrap materials and storing tools and materials appropriately.

Optional Extension Activity

It may be beneficial to include discussion of the following:

  - Joist hanger: a metal device shaped like a “U,” used to connect a joist and beam at right angles to each other.

  - Bridging (block or cross): a method of lateral bracing between joists for stiffness, stability, and load distribution.

  - Tail joist (tail beam): a short beam or joist with one end set in a wall and the other supported by a header.

Lay Out a Full Height Wall

Description

Building codes require that framed walls conform to specifications, and carpenters need to meet those requirements. An understanding of the basic structure and components of a wall system is essential for anyone involved in the building trades. In this Activity Plan, students will:

- Be introduced to the common terminology used in residential wall construction

- Transfer the details of a drawing into the actual layout of a full-sized wall by calculating the necessary materials and completing a material list sheet

This activity is the first stage of the actual construction of a garden shed, playhouse, or other framed structure. The actual structure will depend upon the class composition, time available for the project, and space availability.

Lesson Outcomes

The student will be able to:

- Identify the components of a wall

- Identify the purpose of each wall component

- Extract information from drawings

- Generate a simple material list necessary to build a wall

### Terminology

Base plate (also called floor plate, sole plate, or bottom plate): a horizontal structural member to which the wall studs are through nailed and which forms the base of the wall when assembled.

Cripple stud: a short stud located between the top of the header and the bottom of the top plate over a door or window. It also refers to the short studs located between the window frame and the floor plate below.

Exterior sheathing: sheets of material fastened to the exterior of a framed wall; typically made of plywood or oriented strand board (OSB).

Exterior wall: a framed wall used on the outside of a structure that contains insulation and is typically framed with 2 × 6" material.

Flush: a term used in construction to indicate that two meeting surfaces are aligned on the same plane.

Interior wall: a framed wall used on the inside of a structure that does not contain insulation and is typically framed with 2 × 4" material.

This work is licensed under a Creative Commons Attribution-NonCommercial-ShareAlike 4.0 International License unless otherwise indicated.   47

Jack stud: the stud located on each side of a door or window opening that runs from the top of the bottom plate to the underside of the header.

King stud: the full-length stud located on each side of a window or door opening.

Level: a term used in construction to refer to a horizontal surface.

On centre (OC): this term implies that the measurement from the centre of one stud or joist to the centre of the next identical component will be exactly the distance specified.

Plumb: a term used in construction to refer to a vertical surface.

Square: a term used in construction to refer to a 90° angle.

Top plate: a horizontal structural member to which the wall studs are through nailed and which forms the top of the wall when assembled.

Wall stud: a vertical member in light frame wall construction usually spaced at 16" or 24" centre to centre.

Standard corner post

O.C.

stud

King stud

Double top plate

Top plate	Headers

Cripple stud

Let-in ribbon

Window rough opening

Jack or trimmer stud

Door rough opening

Jack stud

King stud

Cut-in

Cut-in

Rough

Cripple

Partition

Bottom or

Energy-

bracing bracing

sill

stud

assembly

sole plate

efficient

kicker	Cut-in

bracing kicker

corner

Figure 1—Typical wall framing components

### Extension Terminology

Building code: a set of rules that list the structural requirements for buildings and other structures. The purpose of building codes is to ensure that builders meet necessary building bylaws and health requirements.

Gluelam (glued-laminated timber): a structural timber product manufactured by gluing together individual pieces of dimension lumber under controlled conditions.

Insulation: any material added to a building structure for thermal, acoustic (sound), or fire protection. Typically, the term refers to fibreglass material used to thermally insulate walls.

Membrane: breather membranes (commonly known as housewrap) are engineered for the purposes of providing protection to buildings and their occupants from external climatic conditions and from the effects of condensation.

Metal studs: steel framing is often used in place of wood in commercial construction. The advantages over wood are that steel studs are always straight, don’t warp, shrink, or split, and store easily. They cost more than wood studs.

Rainscreen: the weather-facing surface of an exterior wall positioned to provide a space in front of it and the surface of the structural wall. Rainscreen protects the interior from water seepage.

Vapour barrier: any material used for damp-proofing (typically a plastic sheet) that resists movement of moisture through walls, ceiling, and floors of buildings.

### Estimated Time

1½–2 hours

### Recommended Number of Students

20, based on the British Columbia Technology Educators’ Best Practice Guide. The ideal is 16. Groups of 3–4 students for each wall section are recommended, but this would depend on the project size and scope.

### Facilities

This specific activity can be facilitated in a classroom setting, as it involves the introduction of terminology and the calculation of materials needed for the upcoming construction project.

### Tools

- Calculators (optional)

### Materials

- Blank material list sheets

- Sample materials, including the following:

- 2 × 4"s or 2 × 6"s for plates and studs

- 2 × 6" or 2 × 8"s (optional) for lintels

- Sheathing (OSB, plywood)

- 3" common nails for studs

- 2" common nails for sheathing (If the structure is to be dismantled, wood screws are recommended for ease of takedown.)

### Optional

Alternative materials used in frame construction (metal studs, gluelam beams)

### Resources

A graphic/photo of a finished exterior wall, i.e., a crosssection of a framed wall.

Copies of the drawings of the actual project being built. This could be a garden shed, playhouse, or other framed structure.

16"

|  |  |  | Stud |  |  | Top plate Studs Sole plate |  |  | Stud |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

oc	oc

16"

oc

16"	oc

Figure 2—Typical stud frame spacing of a wall

# Activity

- Review terminology and safe practices.

- Provide students with an overview of wall components. This discussion should include an overview of the following:

  - The purpose of a wall

  - The typical components that form a wall

  - The specific requirements of materials, sizing, correct spacing, and fastening devices used to build an exterior wall

  - The specific requirements of materials, sizing, correct spacing, and fastening devices used to build an interior wall

- Determine the size of the wall project required and provide each group of students with drawings showing the size and correct location of various components, including plates and studs.

- Determine the length of the wall plates, stud spacing, and size and positioning of openings in the wall. (It is recommended that this first wall not contain openings if a second wall is to be built.) Typically this wall should have stud spacing with 16" centres (Figure 2).

- Students should generate a material list for the wall to be constructed. This list should include the number and size of plates, number and length of studs, and size of nail fasteners required.

- If time permits, students can also calculate the amount of insulation that would be required to insulate the wall. They could also calculate the number of sheets of wall sheathing that would be required.

### Evaluation Guidelines

The student is able to:

  - Identify the main components of a wall

  - Describe the purpose of those components

  - Generate an accurate material list for a simple stud wall structure

  - Calculate the required amount of insulation and the required amount of exterior sheathing (optional)

### Extension Activities

It is recommended that the instructor spend some time discussing:

    - The importance of building codes and how they are used within the construction industry

    - Some of the important factors that are found specifically in the BC building code, such as rainscreen technology, membrane, and vapour barrier, and how these materials and technologies specifically relate to our climate

    - Alternate materials now being used in construction (metal studs and glued laminated lumber)

Build a Full Height Wall

Description

Standard wall sections are an important feature in residential house construction, and their components must conform to building code specifications. In this lesson, students will build a wall section that meets code requirements.

Wall sections created in this Activity Plan could also be used later for wiring and plumbing.

### Lesson Outcomes

The student will be able to:

  - Identify the parts of a wall

  - Extract information from drawings

  - Lay out a wall according to specifications

  - Place and fasten wall components in the correct location

  - Demonstrate safe use of hand and power tools

### Assumptions

Students are familiar with:

  - Extracting information from drawings

  - The use of basic measurement and layout tools

  - The safe use of the compound mitre saw and portable circular saw

Students will have completed:

  - Build a Wall Mockup (mini-wall) activity plan

  - Lay Out a Full Height Wall activity plan

### Terminology

Base plate (also called floor plate, sole plate, or bottom plate): a horizontal structural member to which the wall studs are through nailed and which forms the base of the wall when assembled.

Exterior wall: a framed wall used on the outside of a structure that contains insulation and is typically framed with 2 × 6" material.

Flush: a term used in construction to indicate that two meeting surfaces are aligned on the same plane.

Interior wall: a framed wall used on the inside of a structure that does not contain insulation and is typically framed with 2 × 4" material.

This work is licensed under a Creative Commons Attribution-NonCommercial-ShareAlike 4.0 International License unless otherwise indicated.   53

Level: a term used in construction to refer to a horizontal surface.

On centre (OC): This term implies that the measurement from the centre of one stud or joist to the centre of the next identical component will be exactly the distance specified.

Plumb: a term used in construction to refer to a vertical surface.

Square: a term used in construction to refer to a 90° angle.

Top plate: a horizontal structural member to which the wall studs are through nailed and which forms the top of the wall when assembled.

Wall stud: a vertical member in light frame wall construction usually spaced at 16" or 24" centre to centre.

### Estimated Time

2–4 hours

The time for this activity will depend on the familiarity of students with tools and the scope of the project (e.g., size of wall, access to tools—number of saws available, etc.—and numbers of students).

### Recommended Number of Students

20, based on the British Columbia Technology Educators’ Best Practice Guide. The ideal is 16. Groups of 3–4 students for each wall section are recommended, but this would depend on the project being built.

### Facilities

Technology education shop facility required. Secure space to work outside is advantageous.

### Tools

    - Tape measures

    - Hammers

    - Combination or speed squares

    - Level

    - Nail bar (nail puller)

    - Aprons

    - Hard hats, eye protection, and hearing protection

    - Mitre saw

    - Portable circular saw

    - Extension cord (if necessary)

### Materials

  - 2 × 4"s or 2 × 6"s for wall plates and studs

  - Sheathing (optional): OSB, plywood

  - 3" common nails – for nailing studs

  - 2" common nails – for nailing sheathing if required (if reusing materials, it is recommended to use screws for ease of removal)

### Resources

Graphic/photo of finished exterior wall, crosssection of finished exterior wall

Drawings of wall should be provided (e.g., Figure 1). Wall to be built will depend on project and space available.

16"

|  |  |  | Stud |  |  | Top plate Studs Sole plate |  |  | Stud |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

oc	oc

16"

oc

16"	oc

Figure 1—Typical wall section showing plates and stud placement

# Activity

- Review terminology and safe practices.

- Determine the length of the wall plates and stud spacing to match the project material list. (Use the material list generated in Activity Plan: Lay Out a Full Height Wall.)

- Cut the top and bottom plates to length and tack together in order to facilitate the layout of stud locations.

- Lay out the top and base plates by marking the correct location of studs using a tape measure and combination square (or speed square). Mark the location of each stud by marking an X on the correct side of a measured pencil line. Note that the second stud must be located 16" from the outside of the first stud to the centre of the second stud. All remaining studs will be located 16" OC.

When laying out walls a tape measure is hooked on the end of plates (or on floors, or the rim joists). Layout of both 16" OC or 24" OC is started by running the tape measure along the plate. Marks are then made �⁄�" short of the 16" marks on the tape (15�⁄�", 31�⁄�", 47�⁄�", etc.). An X is then placed to the right of each mark indicating on which side the stud or joist is placed. The end result will be studs on the joist being 16" OC. This same process is used for 24" OC (i.e., 23�⁄�", 47�⁄�", 71�⁄�").

Copyright © 2006 The Family Handyman magazine. All Rights Reserved.

Figure 2—Typical layout of stud location on top and bottom plates

###### Double 2 × 6" top plate (at exterior wall)

2 × 6" corner studs (three-stud corner)

2 × 6" bottom plate

Figure 3—A typical three-stud corner for a wall;

this corner arrangement allows for placement of insulation to the corner and also allows for proper installation of drywall material to the corner. This construction feature may be utilized depending

on the project that students are working on.

- Cut all studs to length using a mitre saw or portable circular saw.

- Fasten the studs to the wall plates by nailing 3" common nails through the top and bottom plates.

Copyright © 2006 The Family Handyman magazine. All Rights Reserved.

Figure 4—Typical positioning and nailing of plates and studs

- Square the wall by measuring diagonally and apply sheathing. The wall is only checked for square if sheathing is to be applied before being lifted into place.

A

B

Figure 5—Method of checking for square with diagonal measurements; A and B must be equal to be square.

- Stand the wall upright, check the wall for plumb and square, and brace it with extra material.

Figure 6—Typical temporary bracing of a wall section after checking for square and for plumb

Evaluation Guidelines

  - Layout is correct (e.g., stud spacing, opening positioning).

  - Components are cut to correct length.

  - All framing components are flush.

  - The wall section is braced plumb and straight (if positioned on floor).

  - Safe work practices are followed.

  - A tidy workplace is maintained. Scrap materials are removed and tools and materials are stored properly.

Build a Full Height Wall

Carpenter

Build a Wall Mockup

Description

All walls in a house must be built to correct specifications and size in order to meet building code requirements. In this Activity Plan, students will build mock wall sections, with 48" (1200 mm) top and bottom plates and four 24" (600 mm) studs.

The purpose of this activity is to have students practise measuring, cutting, and nailing by building a small mock wall section. This lesson will be followed by the layout and construction of a full-sized wall using the skills gained.

### Lesson Outcomes

The student will be able to:

  - Identify the parts of a wall

  - Lay out a mini mock wall according to specifications

  - Install wall components in appropriate locations

  - Demonstrate safe use of hand and power tools

  - Demonstrate correct nailing techniques for a wall section

### Assumptions

The student will:

  - Be familiar with the safe use of mitre saws and portable circular saws

  - Have had the opportunity to use basic measurement and layout tools

  - Be familiar with extracting information from drawings

### Terminology

Base plate (also called floor plate or bottom plate): a horizontal structural member to which the wall studs are through nailed and which forms the base of the wall when assembled.

Double top plate: a second set of plates added after the walls are raised to position. These plates continue past the point of intersection between side and end walls and are nailed down through the top in order to lock the walls into a solid unit.

End nail technique: to install a stud or joist by nailing through the plates or rim joist into the end of the stud or joist (typically two nails at each end of a stud are used).

Exterior wall: a framed wall used on the outside of a structure that contains insulation, typically framed with 2 × 6" material.

Flush: a term used in construction to indicate that two meeting surfaces are aligned on the same plane.

This work is licensed under a Creative Commons Attribution-NonCommercial-ShareAlike 4.0 International License unless otherwise indicated.   61

Interior walls: a framed wall used on the inside of a structure that does not contain insulation and is typically framed with 2 × 4” material.

Level: a term used in construction to refer to a horizontal surface.

On Centre (OC): This term implies that the measurement from the centre of one stud or joist to the centre of the next identical component will be exactly the distance specified.

Plumb: a term used in construction to refer to a vertical surface.

Square: a term used in construction to refer to a 90° angle.

Toenail technique: to install a stud in a wall by nailing through the side edge of the stud at about a 60° angle down into the plate. The nails need to be driven into the plate so that approximately half of the length of the nail is in the plate.

Top plate: a horizontal structural member to which the wall studs are through nailed and which forms the top of the wall when assembled.

Wall stud: a vertical member in light frame wall construction, usually spaced at 16" or 24" centre to centre.

### Estimated Time

1.5–2 hours

Time for this activity depends on the familiarity of students with tools and access to tools—the number of mitre and portable circular saws available, etc.

### Recommended Number of Students

20, based on the British Columbia Technology Educators’ Best Practice Guide. The ideal is

- Students will work in groups of two or individually, depending on class numbers and space available.

### Facilities

Technology education shop facility required. A secure space to work outside is advantageous as well as open floor area in which to build the mock walls.

### Tools

  - Mitre saw

  - Portable circular saw

  - Extension cord

  - Tape measures

  - Hammers and nail pullers

  - Nail gun and compressor (optional)

  - Combination or speed square

  - Level

  - Aprons

  - Hard hats

  - Eye protection

### Materials

  - 2 × 4"s or 2 × 6"s for wall plates and studs

  - 3" common nails

### Resources

Graphic/photo of finished exterior wall, crosssection of finished exterior wall. Figures 1 and 2 show examples that could be used. Drawings of a variety of walls could be provided and typical methods of construction could be discussed.

#### Studs are spaced 16" on centre	Cripple studs are

16" on centre

Top plate

Header

Jack studs are the height of your rough openings

Kings go to the outsides of the jack studs

Treated lumber for bottom plate in basement

Figure 1—The main features of a typical full height wall with a framed-in door section

16"

16" O.C.

Floor to joist height (less ½")**

Wall section (8') 	 Top plate (`regular´ 2" × 4")

Bottom plate (treated 2" × 4")

**Leave ½" of space to allow you to tip the wall into place.

Figure 2—Typical interior wall showing correct spacing for wall studs. Note that the second stud is located 16" from the outside of the first stud to the centre of the second stud. Each remaining stud will be 16" OC.

# Activity

- Review terminology and safe practices.

- Determine the lengths of the wall plates, stud spacing, size, and positioning. Note: 16" (406 mm) outside to centre spacing. Recommended measurements for the mock wall are 48" (1200 mm) top and base plates with four 24" (600 mm) studs.

- Generate a material list.

- Cut the top and base plates to length (two pieces at 48" or 1220 mm) using a compound mitre saw (Figure 3) or portable circular saw.

Figure 3—Typical compound mitre saw used to cut plates and studs to length

- Lay out the top and base plates by marking the correct locations of studs using a tape measure and combination square (or speed square). Mark the location of the studs by marking an X on the correct side of a measured pencil line. Note that the second stud must be located 16" from the outside of the first stud to the centre of the second stud. All remaining studs will be located 16" OC.

- When laying out walls, a tape measure is hooked on the end of plates (or on floors, on the rim joists). Layout on both 16" OC or 24" OC is started by running the tape measure along the plate. Marks are then made ⅜" short of the 16" marks on the tape (15¼", 31¼", 47¼", etc.). An X is then placed to the right of each mark to indicate the side on which the stud or joist is placed. The end result will be studs on joist being 16" OC. This same process is used for 24" OC (i.e., 23¼", 47¼", 71¼").

- Cut the wall stud components to length (four pieces at 12" or 300 mm) using a compound mitre saw or portable circular saw.

- Assemble the wall framing components with a hammer and nails (two 3" common nails through the top plate, and two 3" common nails through the base plate). Note that students will have more success working together on this part of the activity, as they can assist in holding components in the correct position.

Figure 4—Typical nailing procedure for a wall

- Note: The nailing process should be completed while the material is on a flat horizontal surface, in order to facilitate easy nailing (Figure 4).

- Students need to check the mock wall to ensure that the structure is square and that studs are flush with plates. (Wall only needs to be squared if it is to be sheathed on the floor.)

### Evaluation Guidelines

- All framing components are flush.

- Layout is correct (e.g., stud spacing).

- Components are cut to correct length.

- Walls are square.

- Safe work practices are followed.

- The work environment is tidy, with tools and materials stored properly and waste material removed.

### Optional Activities

- The teacher could demonstrate the assembly of part of the mock wall by using a pneumatic nail gun, if available.

- The teacher could also demonstrate toenailing techniques, and students could practise toenailing one stud in the wall.

Build a Wall Mockup

Carpenter

Build a Sawhorse

Description

Carpenters need to be able to accurately interpret drawings in order to extract information. Measuring correctly, cutting accurately, and using fasteners appropriately are necessary skills that every carpenter must develop. In this Activity Plan, students will have the opportunity to develop these skills by constructing sawhorses in small groups.

Sawhorses are indispensable on a construction site and can prove to be constantly useful around the home. Their versatility is shown by their ability to function as workbenches, stepladders, vises, scaffolding, storage racks, seating, and platform and table supports.

### Lesson Outcomes

The student will be able to:

- Extract information from a drawing

- Proficiently perform basic measuring and layout

- Cut materials in an accurate and safe manner using appropriate tools

- Join materials together using appropriate fasteners

- Build a sawhorse that can be used in other activities within the course

### Assumptions

The student will:

- Have an understanding of measurement systems used in carpentry and the use of tape measures, squares, and basic layout techniques.

- Have had an introduction to the safe use of basic hand tools and portable power tools, including portable circular saws, mitre saws, and hammers.

- Be aware of common fastening devices, including common and finishing nails, wood

screws, and wood glue.

### Terminology

Gusset (cleat): a strip of wood used to strengthen or support the surface to which it is attached.

Sawhorse: a beam with four legs used to support a board or plank for sawing. Commonly used to support lumber, or as a work surface.

Sliding T bevel: an adjustable gauge for setting and transferring angles.

This work is licensed under a Creative Commons Attribution-NonCommercial-ShareAlike 4.0 International License unless otherwise indicated.   69

### Estimated Time

3 hours

The time for the activity will depend on the familiarity of students with tools and their access to tools—e.g., the number of mitre saws and portable circular saws available, etc.

### Recommended Number of Students

Students will work in groups of 2–4 (2 students are best), depending on class numbers and space available.

20, based on BC Technology Educators’ Best Practice Guide; ideal is 16.

### Facilities

Technology education shop facility required. A secure space to work outside is advantageous,

as well as open floor area in which to build the sawhorses.

### Materials

Note: Material can be partially or completely precut by the instructor in order to facilitate ease of construction. This would be determined by the experience of students in the class, time constraints and the tools available. Legs may be cut to any length to suit the purpose.

The table below lists materials required to construct one sawhorse:

| Mark | Name | Number required | Measurement (metric) | Thickness | Width | Length | Material | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A | Legs | 4 | 1 × 6 × 26" | 1" | 6" | 26" | Fir/ hemlock | Cut at 4"/24" angle |
| B | Top | 1 | 2 × 6 × 42" | 2" | 6" | 42" | Fir/ hemlock | Notched at 4"/24" angle |
| C | Gussets | 2 | ½× 11 × 8" | ½" | 11" | 8" | Plywood | Cut to fit |
| D | Rails | 2 | 1 × 4 × 48" | 1" | 4" | 48" | Fir/ hemlock | Cut to fit |
| E | Wood screws | 36 |  | 1¼" | #8 F.H. |  |  |  |

##### Additional

- Wood glue

- Finishing nails or wood screws (1¼" #8)

- Sandpaper

###### 42"

• •  •	• •  •

24"

•

••	•	6"

• • •

• • •

•	•

###### 12"

Figure 1—Dimensions of a sawhorse

Note: Legs may be cut to any length to suit the purpose.

### Tools

- Portable circular saw(s)

- Compound mitre saw(s)

- Measuring tape

- Protractor

- Adjustable T bevel

- Hand plane

- Screwdrivers

- Hammer

- Carpenter’s pencil

- Straightedge

### Procedure

- Legs: Select a straight and knot-free piece of 1 × 6" stock for the legs.

  - Lay the framing square on the 6" face of this leg stock, as shown in Figure 2, taking on the tongue (short end) and 24" on the blade (long end) of the square. Draw line #1 along the tongue. This will be the line for the bottom cut of the leg.

Note: The square is held so that the numbers on both tongue and blade are along the same edge of the board.

###### 4"

line #1	24"

bottom cut of leg

Figure 2—Laying out the bottom cut

  - Measure 25" from line #1 along the board and make a check mark (5). Reverse the square as shown in Figure 3 and hold it the same as before (4" tongue and 24" blade). Draw line #2 along the tongue through the check mark. This will be the line for the top cut of the leg.

Note: Lines #1 and #2 for the bottom and top cuts should be parallel to each other.

###### 4"

24"	line #2 (top cut of leg)

line #1

25"

Figure 3—Laying out the top cut

  - Turn the board on edge and lay out the edge cuts, #3 and #4, as shown in Figure 4, by holding the framing square to the numbers 5¼" on the tongue and 24" on the blade. The tongue of the square should touch line #1, the bottom cut. Draw line #3 along the tongue.

line #4

line #3 bevel edge cut

5¼"

24"

line #2

line #1

Figure 4—Laying out the edge cuts

  - Reverse the square and draw the top side cut, line #4, as shown in Figure 4.

Note: Lines #3 and #4 should also be parallel to each other.

f.  Cut lines #1, #2, #3, and #4, sawing on the waste side of the line.

- As shown in Figure 5, measure up 12" from the bottom cut of the leg along the edge and make a check (). From the opposite edge of the board, measure 5" along the bottom and make another check (). Use the blade of the square to draw line #5 connecting these two checks.

12"

5"

line #5

leg top

Figure 5—Marking off the leg taper

- Cut line #5, sawing on the waste side of the line.

- Using a block plane and a file, smooth up the cuts to the lines.

- Now use this one finished leg as a pattern, and trace around it and cut out three more identical legs.

- Label the four legs A, B, C, and 0. Set them aside until assembly, and begin the top.

- Top: Select a straight and knot-free piece of 2 × 6" stock for the top.

  - Use the square to check that one end of the top material is square, and from this end measure 42" along the length and make a check (). Draw a square line through this check, and then use a saw to carefully cut along the waste side of this line.

  - To lay out the gain joints, as shown in Figure 6, measure 4" from each end of the 2 × 6" stock and make a check (). Draw a square line #1, across the face through each check.

4"

###### 42"

4"

###### line #1

line #1

Figure 6—Laying out the gain joints

  - Turn the top piece on edge and lay the framing square on this edge, holding the square to the 4" mark on the tongue, and the 24" mark on the blade; the tongue of the square should touch line #1. Draw line #2 along the tongue.

Caution: Be sure to have the angle in the right direction as shown in Figure 7, angling outward toward the end of the stock.

###### 4"

24"

line #2

Figure 7—Marking the outside edge of the gain joint

  - Place one edge of leg A alongside line #2, so as to get the exact width of the gain joint. Draw line #3 as shown in Figure 8. To the side of line #3, print the letter A to ensure leg A will be attached here during assembly.

A

leg A

line #3

Figure 8—Marking the inside edge of the gain joint

  - For the depth of the joint, measure ⅜" from the edge of the stock and lay out line #4 as shown in Figure 9.

line #4

A

3⁄s"

Figure 9—Marking the depth of the gain joint

  - To lay out the gain joint on the opposite edge of the 2 × 6" stock, take a bevel square and set it to the angle of line #2, and now draw an identical line on the end of line #1 on the other edge of the stock.

  - Place leg B alongside this new line, as in step d, and draw a line showing the width of  leg B. Again to the side of this line, print the letter B to ensure leg B will be attached here later.

  - Using the bevel square, and leg C and leg D, lay out the two gain joints on the other end of the 2 × 6" stock. Take care to make each leg angle in the proper direction, as shown in Figure 10.

###### • •  •	• •  •

Figure 10—Correct orientation of the legs

  - Caution: Before cutting the gain joints, check the lay out for the following:

    - The lines of each joint on the edge of the 2 × 6" stock must angle outward at the bottom.

    - The lines of each joint must be parallel to each other.

    - The width of the joint should not exceed the width of the corresponding leg.

  - Cut out the gain joints with saw and chisel as shown Figure 11. Be sure to cut on the

waste side of the line, leaving just the line, to ensure a tight fit for the legs.

###### gain joint for leg D

gain joint for leg B

C

A

Figure 11—Cut out the gain joints

  - To prevent splitting, pre-drill the top of each leg with three 3⁄16" pilot holes.

  - Using the 1¼" #8 F.H. wood screws and white glue, attach each leg to the appropriate gain joint.

- Gussets: Select a piece of ½" thick plywood measuring 6" wide by 21" long.

- The gussets are wedge shaped, as shown in Figure 12. The angle can be obtained by holding 5½" on the tongue of the framing square and 24" on the blade, and drawing line

#1 along the tongue, as shown in Figure 13.

Note: The same outside edge of the square is used for 2¾" and 12".

###### gusset

•

•

•	•

2¾"	12"

  - •   line #1

Figure 12—Gusset	Figure 13—Measuring the gusset

- The length of this piece on the long edge is 11"; lay out this distance as shown, and  mark with a check (). Then using a bevel square set to the 5½/24 angle, draw the angle through the check, marking line #2 as shown in Figure 14.

###### line #1	line #2

11"

Figure 14—Marking the gusset outside edges

- Use a saw to carefully cut the first gusset, and then using it as pattern, trace the shape

for the second gusset. Now cut out the second gusset.

- Pre-drill three 3⁄16" holes, ⅜" from each of the two sloping edges of the gussets.

- Stand the sawhorse on end, and using white glue and 1¼" #8 F.H. wood screws, attach a gusset to the legs, ensuring the top edge is up tight against the 2 × 6" top. Pre-drilling pilot holes in the edges of the legs will prevent splitting.

- Reverse the sawhorse and repeat the procedure for attaching the other gusset.

- Rails: Select two straight and knot-free pieces of 1 × 4" stock approximately 42" long.

- Set the bevel square to the 4"/24" angle of the gain joints, and then lay out this angle on one end of each piece of 1 × 4" rail stock. Cut this angle.

- With the sawhorse standing on all four legs, place a framing square with the blade on the top and the tongue pointing downward toward the floor as shown in Figure 15. On each leg, at a point 12" down from the top, mark a check ().

•

•

•

•

•

•

12"

Figure 15—Laying out rail position

- To find the rail’s exact length, as shown in Figure 16, place the bevel-cut end of the rail flush to the outer edge of the leg, and with the upper edge of the rail flush to the checks on each leg. Draw line #1 alongside the other leg to indicate the length.

###### • •  •	• •  •

edge flush	line #1

Figure 16—Measuring the rail length

- Cut this rail to length along line #1, use it as a pattern to lay out the other rail, and then cut it as well.

- Use clamps to hold the rails in place, and then pre-drill the rails and legs with three pilot holes. Use white glue and 1¼" #8 F.H. wood screws to attach each rail to the legs.

- Finally, test the completed sawhorse by placing it on a true surface or level plane such as a bench top. The sawhorse should be firm and solid when standing on a true surface. Adjust the leg length as necessary, to cure a rocking horse.

# Activity: Build a Sawhorse

- Review terminology and safe work practices.

- Divide the students into groups. Each group of will receive a copy of the plan and generate a material list. (2 ideal—4 students maximum per group). 94 legs, 2 gussets, 2 rails (?), and 1 top).

- Each group will draw up a full-sized leg pattern and an end gusset pattern. This could be done on paper or directly on the construction material.

- Students will lay out the patterns on the construction material in order to determine the

most efficient use and ease of cutting of the pieces.

- Each group cuts out 4 legs, 2 rails, and 2 end gussets. A portable circular saw could be used for ripping pieces to the correct width and then cutting to the exact length. A mitre saw could also be used for the length cuts.

- It may be desirable to hand plane the edges of the top 2 × 6" to the correct angle of the legs. (This is optional depending on the design. An alternative would be for the instructor to rip the edges at the correct angle on a table saw in order to save time.)

- Students will assemble the sawhorse by placing the legs, rails, and gussets in the correct position and using glue and nails (wood screws can be substituted for greater strength). It is important that students place the components in an accurate position with flush surfaces in order to ensure a successful project.

- Sandpaper should be used to clean up sharp edges and surfaces.

### Evaluation Guidelines

The student:

  - Plans the project to organize work and ensure personal safety

  - Efficiently prepares the work area and assembles materials/tools (e.g., the student is

responsible for a tidy work environment)

  - Uses hand tools safely and efficiently to complete the task

  - Uses power tools safely and efficiently to complete the task

  - Handles and organizes materials in a safe manner

  - Maintains an orderly, safe work area while completing the task

  - Shows care and attention to work

  - Constructs the sawhorse to specifications

    - Angles and positioning correspond to layout

    - Components are cut to correct length

    - All components are flush

    - Sawhorse sits stable on the floor

    - Sharp edges have been removed

  - Completes the task within the time allotted

  - Leaves the work area in a clean, orderly, work-ready state

Build a Sawhorse

Carpenter